|  |
| --- |
| **Company Name:** |
| **Workplace Location:** |
| **Name of Inspector(s):** |
| **Date of Inspection:** |
| **Inspection Items** |
| Fire extinguishers are fully charged, within easy access at key locations, and the locations are marked with clear signs. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Fireproof containers are available for storage of oily or solvent- soaked rags until they can be rinsed thoroughly and hung to dry with lots of air circulation. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| All scrap wood, extra sawdust; piles of paper, cans of paint, etc. are stored safely. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Aboveground fuel filling stations are posted with “no smoking” and “no sparks or open flames” signs. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Tanks at aboveground fuel filling stations are protected from vehicles by no-post concrete barriers. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Smoke detectors and alarms are installed at key locations. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Pipe stands and rolled water hoses in good working condition are within easy access at key locations, and the locations are marked with clear signs. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
|  | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
|  | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
|  | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| **Other Notes:** |