|  |  |  |
| --- | --- | --- |
| **Company Name:** | | |
| **Workplace Location:** | | |
| **Name of Inspector(s):** | | |
| **Date of Inspection:** | | |
| **Inspection Items** | | |
| Circuit boxes are kept clean, are not exposed to leaks or water, and are marked with clear signs. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Light fixtures are kept clean, and are not exposed to leaks or water. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Extension cords are not being used as long-term wiring. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| All extension cords are suitable for heavy-duty use, and are in good condition. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| All electrical tools have either a three-prong cord or are clearly marked as “double-insulated.” | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| All electrical cords and connections are well out of the reach of animals. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Ground fault circuit interrupters (GFCIs) are installed at all outdoor receptacles, in washrooms, and in all other damp or wet locations. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Overhead power lines allow a clearance of at least ten feet from all farm equipment or machinery that may pass underneath; overhead power lines are clearly marked. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| At least one ladder on the farm is made of non-conducting wood or fiberglass for work around electrical fixtures. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
|  | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
|  | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| **Other Notes:** | | |