|  |
| --- |
| **Company Name:** |
| **Workplace Location:** |
| **Name of Inspector(s):** |
| **Date of Inspection:** |
| **Inspection Items** |
| Circuit boxes are kept clean, are not exposed to leaks or water, and are marked with clear signs. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Light fixtures are kept clean, and are not exposed to leaks or water. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Extension cords are not being used as long-term wiring. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| All extension cords are suitable for heavy-duty use, and are in good condition. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| All electrical tools have either a three-prong cord or are clearly marked as “double-insulated.” | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| All electrical cords and connections are well out of the reach of animals. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Ground fault circuit interrupters (GFCIs) are installed at all outdoor receptacles, in washrooms, and in all other damp or wet locations. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| Overhead power lines allow a clearance of at least ten feet from all farm equipment or machinery that may pass underneath; overhead power lines are clearly marked. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| At least one ladder on the farm is made of non-conducting wood or fiberglass for work around electrical fixtures. | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
|  | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
|  | * Yes
* No
* N/A
 |
| Corrective Action: | Who is Responsible: |
| Action Date: |
| **Other Notes:** |