|  |  |  |
| --- | --- | --- |
| **Company Name:** | | |
| **Workplace Location:** | | |
| **Name of Inspector(s):** | | |
| **Date of Inspection:** | | |
| **Inspection Items** | | |
| Fire extinguishers are fully charged, within easy access at key locations, and the locations are marked with clear signs. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Fireproof containers are available for storage of oily or solvent- soaked rags until they can be rinsed thoroughly and hung to dry with lots of air circulation. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| All scrap wood, extra sawdust; piles of paper, cans of paint, etc. are stored safely. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Aboveground fuel filling stations are posted with “no smoking” and “no sparks or open flames” signs. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Tanks at aboveground fuel filling stations are protected from vehicles by no-post concrete barriers. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Smoke detectors and alarms are installed at key locations. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| Pipe stands and rolled water hoses in good working condition are within easy access at key locations, and the locations are marked with clear signs. | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
|  | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
|  | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
|  | | * Yes * No * N/A |
| Corrective Action: | Who is Responsible: | |
| Action Date: | |
| **Other Notes:** | | |